
[image: image1.png]






TOWN OF DOUGLAS

                                          BOARD OF HEALTH


At the April 6, 2009 meeting of the Douglas Board of Health, the members present voted unanimously to rescind the Board of Health Regulation No. 016 entitled REGULATION ON OUTDOOR WOOD BURNING BOILERS”and  voted to maintain the following section:

E. REQUIRMENTS:

1.   Permits and Written Plans

a. A permit is required from the Douglas Board of Health to install an outdoor wood burning boiler.  Owners of boilers installed before the effective date of these regulations must also go through the permitting process.  The permit process shall include submission of a written application form and payment of the permit fee established by the Board of Health.

b. Permit applicants must demonstrate to the satisfaction of the Board of Health that they understand the requirements for proper installation and operation of an OWB.  This includes appropriate permits and sign-offs for work done by licensed contractors and any inspections as required by the Douglas Building Inspector and the Douglas Electrical Inspector.
c. The application must be accompanied by a written site plan (a plot plan from the Douglas Assessors office can be used) indicating the proposed boiler location in relation to all existing structures and separating distances from the boiler to all building and outbuildings on site and all neighboring structures.  The plan must also indicate distances to all roads adjacent to the site and distances from the boiler to woods, brush and flammable structures. 
 The Douglas Board of Health members voted unanimously to adopt Department of Environmental Protection, 310 CMR 7.26(50) Outdoor Hydronic Heaters regulation which became effective on December 26, 2008.

_____________________________

________________________________

Justin Lapham, Chairman

            David McCallum, Vice-Chairman

____________________________

________________________________

Joseph A. Yacino, Agent


Steven Donatelli

____________________________
Robert Brazeau

� EMBED MS_ClipArt_Gallery.5  ���









[image: image2.png]


_1074341511

