
[image: image1.png]






TOWN OF DOUGLAS

                                          BOARD OF HEALTH

REGULATION NO.    008

REGULATION FOR PRIVATE WELLS

TABLE OF CONTENTS

1. PURPOSE

2. AUTHORITY

3. DEFINITIONS

4. WELL CONSTRUCTION PERMIT

5. WATER SUPPLY CERTIFICATE

6. WELL LOCATION AND USE

    REQUIREMENTS

7. WATER QUALITY TESTING

    REQUIREMENTS

8. WELL CONSTRUCTION REQUIREMENTS

9. IRRIGATION WELLS

10. DRIVEN, DUG, BORED WELLS AND

   AQUA-FRACTURING

11. DECOMMISSIONING REQUIREMENTS

12. ENFORCEMENT

13. HEARING

14. APPEAL

15. PENALTIES

16. VARIANCE

17. SEVERABILITY

18. EFFECTIVE DATE

19. DISCLAIMER

20. AMENDMENTS AND MOFIDICATIONS

SIGNATURE PAGE

REGULATION FOR PRIVATE WELLS

1. PURPOSE

These regulations are intended to protect the public health and general welfare by ensuring that private wells are constructed in a manner which will protect the quality of the groundwater derived from private wells.

2. AUTHORITY

These regulations are adopted by the Town of Douglas, Board of Health, as authorized by Massachusetts General Laws, Chapter 111, Section. 31

These regulations supercede all previous regulations adopted by the Board of Health pursuant to the construction of private wells.

3. DEFINITIONS

AGENT
Any person designated and authorized by the Board to execute these



regulations.  The Agent shall have all the authority of the appoint-



ing Board and shall be directly responsible to the Board and under its



direction and control.

APPLICANT
Any person who intends to have a private well constructed.

AQUIFER
A water bearing geologic formation, group of formations, or part of



a formation that contains sufficient saturated permeable material to



yield significant quantities of water to wells and springs.

BENTONITE GROUT  



A mixture of bentonite (API Standard 13A) and water in a ratio of



not less than one pound of bentonite per gallon of water.

BOARD
The Board of Health of the Town of Douglas, Massachusetts or its



authorized agent.

BUSINESS OF DIGGING OR DRILLING



A person who charges a fee for digging or drilling a well, or a person who



advertises for hire the availability to dig or drill wells within the



Commonwealth of Massachusetts.

CASING
Impervious durable pipe placed in a boring to prevent the walls from 




caving and to serve as a vertical conduit for water in a well.

CERTIFIED LABORATORY



Any laboratory which has full certification by the Department of 



Environmental Protection as provided in the most recent edition of 



“Certification Status of Commercial Environmental Laboratories”.

CONCRETE  A mixture consisting of Portland cement (ASTM Standard C150



Type 1 or API Standard 10, Class A), sand, gravel and water in



one part cement, by volume, and not more than six gallons of water.



One part cement, two parts sand, and three parts gravel are commonly



used with up to six gallons of water.

NEAT CEMENT GROUT 



A mixture consisting of one bag (94 pounds) of Portland cement



(ASTM Standard C150, Type 1 or API Standard 10, Class A)



to not more than six gallons of clean water.  Bentonite (API Standard



13A), up to two pecent by weight of cement, shall be added to reduce



shrinkage.  Other additives, as described in ASTM Standard C494,



may be used to increase fluidity and/or control setting time.

PERSON
An individual, corporation,  company, association, trust or



partnership.

PRIVATE WELL



Any dug, driven or drilled hole with a depth greater than its largest



surface diameter developed to supply water intended or/and used for



human consumption and not subject to regulation 310 CMR 22.00.

PUMPING TEST



A procedure used to determine the characteristics of a well and adjacent



aquifer by installing and operating pump.

REGISTERED WELL DRILLER



Any person registered with the Department of Environmental 



Management/Division of Water Resources to dig or drill wells in the



Commonwealth of Massachusetts.

SAND CEMENT GROUP



A mixture consisting of Portland cement (ASTM Standard C150, Type



1 or API Standard 10, Class A)., sand and water in the proportion of



one part cement to three or four parts sand, by volume, and not more 



than six gallons of water per bag (94 pounds) of cement.  Up to five



percent, by weight, of bentonite (API Standard 13A) shall be added to



reduce shrinkage.

STATIC WATER LEVEL



The level of water in a well under non pumping conditions.

STRUCTURE




A combination of materials assembled at a fixed location to give support



or shelter, such as a building, framework, retaining wall, fence or the



like.

Additional definition terminology may be found in the Department of Environmental

Protection’s Private Well Guidelines.

4. 
WELL CONSTRUCTION PERMIT AND APPLICATION

The property owner or his designated representative shall obtain a permit from the Board 

            of Health prior to the commencement of construction of a private well.


Each permit application to construct a well shall include the following:

1. The property owner’s name, mailing address and telephone number.

2. The site location of the well (street number and street name).

3. The well driller’s name, address and telephone number.

4. A plan with a specified scale, signed by a Professional Engineer, showing the location of the proposed well in relation to existing or proposed above or below ground structures.


5. A description and location of visible prior and current land uses within two hundred (200) feet of the proposed well location, which represent a potential source of contamination, including but not limited to the following:

a. existing and proposed structures

b. subsurface sewage disposal systems

c. subsurface fuel storage tanks

d. public ways

e. utility rights-of-way

f. any other potential sources of pollution

6. Permit application fee shall be set by the Douglas Board of Health.

The approval permit shall be on site at all times that work is taking place.  Each permit shall expire one (1) year from the date of issuance unless revoked for cause.  Permits may be extended for one (1) additional six (6) month period provided that a written request is received by the Board prior to the one year expiration date.  No additional fee shall be charged for a permit extension, provided there is no change in the plans for the proposed well.

The Board may require additional information pertaining to the location of waste sites, underground storage tanks, agricultural land uses, and/or utility rights-of-way that are within 500-1,000 feet of the well site.

5.
      WATER SUPPLY CERTIFICATE
The issuance of a Water Supply Certificate by the Board shall certify that the private well may be used as a drinking water supply.  A Water Supply Certificate must be issued for the use of a private well prior to the issuance of an Occupancy Permit for an existing structure or prior to the issuance of a building permit for new construction which is to be served by the well. 


      The following shall be submitted to the Board of Health to obtain a Water Supply 


      Certificate:

1. a well construction permit

2. a copy of the Water Well Completion Report as required

by the Division of Water Resources (CMR 313, Section 3.00)

3. a copy of the Pumping Test Report 

4. a copy of the Water Quality Report required pursuant to Section 7 of these regulations

Upon the receipt and review of the above documents, the Board shall make a final decision on the application for a Water Supply Certificate.  A final decision shall be in writing and shall comprise one of the following actions;

1. Issue a Water Supply Certificate.

2. Deny the applicant a Water Supply Certificate and specify the reasons for denial.

3. Issue a conditional Water Supply Certificate with those conditions which the Board deems necessary to ensure fitness, purity and quality of the water derived from that private well.  Said conditions may include, but not be limited to requiring treatment or additional testing of the water.

6.
WELL LOCATION AND USE REQUIREMENTS
In locating a well, the applicant shall identify all potential sources of contamination which exist or are proposed within two hundred (200) feet of the site.  When possible, the well shall be located upgradient of all potential sources of contamination and shall be as far removed from potential sources of contamination as possible, given the layout of the premises.

Each private well shall be accessible for repair, maintenance, testing, and inspection.  The well shall be completed in a water bearing formation that will produce the required quantity of water under normal operating conditions.

Each private well shall be located at least ten (10) feet from any property line.  The centerline of the well shall, if extended vertically, clear any projection for an adjacent structure by a least five (5) feet.

All private wells shall be located a minimum of thirty (30) feet from the normal driving surface of any public roadway or sixty (60) feet from the centerline of the existing road, whichever is greater.  A minimum of fifteen (15) feet from the road right-of-way or driveway is required.

Each private well shall be located at least 25 feet, laterally, from the normal high water mark of any lake, pond, river, stream, ditch or slough.  When possible, private water systems shall be located in areas above the 100-year floodplain.

All private wells shall be located at least twenty-five (25) feet from existing buildings.

A suction line or well shall be located a minimum of ten (10) feet from a building sewer constructed of durable corrosion resistant material with watertight joints, or fifty (50) feet from a building sewer constructed of any other type of pipe; fifty (50) feet from a septic tank; one hundred (100) feet from a leach field; and one hundred (100) feet from a privy.

Water supply lines shall be installed at least ten (10) feet from and eighteen (18) inches, above any sewer line.  Whenever water supply lines must cross sewer lines, both pipes shall be constructed of class 150 pressure pipe and shall be pressure tested to assure watertightness.

The Board reserves the right to impose minimum lateral distance requirements from other potential sources of contamination not listed above.  All such special well location requirements shall be listed, in writing, as a condition of the well construction permit.

No private well, or its associated distribution system, shall be connected to either the distribution system of a public water supply system or any type of waste distribution system.

7.
WATER QUALITY TESTING REQUIREMENTS

After the well has been completed and disinfected, and prior to using it as a drinking water supply a water quality test shall be conducted.

A water sample shall be collected either after purging three (3) well volumes or following the stabilization of the pH, temperature and specific conductance in the pumped well.  The water sample to be tested shall be collected at the pump discharge or from a disinfected tap in the pump discharge line.  In no event shall a water treatment device be installed prior to sampling.

The water quality test, utilizing EPA approved methods for drinking water testing and not methods used for analyzing wastewater, shall be conducted by a certified laboratory and shall include analysis for the following parameters:

A.
PARAMETERS


MAXIMUM ACCEPTABLE LIMIT

Coliform bacteria


1/100 ml


Nitrogen (nitrate)


10 mg/L


Turbidity



1 turbidity unit


Benzene



0.005 mg/L


Carbon tetrachloride


0.005 mg/L


Para-dichloroethane


0.005 mg/L


1, 2 dichloroethane


0.005 mg/L


1, 1 dichloroethylene


0.007 mg/L


1, 1, 1 trichloroethane


.20 mg/L


Trichloroethylene


0.005 mg/L


Vinyl chloride



0.002 mg/L

B.
Sodium



greater than 20 mg/L is of concern to 







persons on low sodium diets

C. Indicator Parameters

PARAMETERS

RECOMMENDED

RECOMMENDED





UPPER LIMITS

LOWER LIMITS
Alkalinity


100 mg/L


30 mg/L

Calcium


150 mg/L


50 mg/L

Chloride


250 mg/L

Color



15 color units

Copper



1 mg/L

Hardness


200 mg/L


50 mg/L

Iron



0.3 mg/L


Magnesium


relative scale

Manganese


0.05 mg/L

Nitrogen (ammonia)

0.1 mg/L


0.015 mg/L

Nitrogen (nitrite)

1 mg/L


Odor



3 threshold odor number

pH



8.5



6.5

Potassium


relative scale

Sediment


visual observation

Sulfate



250 mg/L

Total dissolved solids

500 mg/L

C. Additional testing required

Lead

Hydrogen Sulfide

Foaming agents

Volatile organic compounds (VOC’s) using EPA Method 524.

Following a receipt of the water quality test results, the applicant shall submit a Water Quality Report to the Board which includes:

1. a copy of the certified laboratory’s test results

2. the name of the individual who performed the sampling

3. where in the system the water sample was obtained

The Board reserves the right to require retesting of the above parameters, or testing for additional parameters when, in the opinion of the Board, it is necessary due to local conditions or for the protection of the public health, safety and welfare.  All costs and laboratory arrangements for the water testing are the responsibility of the applicant.

The water sample shall be collected by the Board’s Agent, by an employee of the certified laboratory performing the analysis or by an employee of the well drilling company.
For wells completed in bedrock, the Board may require tests for radon, arsenic and selenium.  In areas where current or historical land use includes agriculture, the Board may require testing for pesticides, herbicides and arsenic.  The DEP Private Well Guidelines, section entitled “Water Quality and Water Testing”, includes acceptable limits for these additional parameters.

Following the initial water quality test for a new well, the Board may require or recommend that the applicant have the water tested periodically, especially where distance variances are granted.

8.
WELL CONSTRUCTION REQUIREMENTS
Pursuant to 313 CMR 3.00, no person in the business of digging or drilling shall construct a well unless registered with the Department of Environmental Management/Division of Water Resources.  The Board requires that driller’s licenses be kept on file with the Board of Health.

Any work involving the connection of the private well to the distribution system of the residence must conform to the local plumbing code.  All electrical connections between the well and the pump controls and all piping between the well and the storage and/or pressure tank in the house must be made by a pump installer or registered well driller, including the installation of the pump and appurtenance in the well or house.

A physical connection is not permitted between a water supply which satisfies the requirements of these regulations and another water supply that does not meet the requirements of these regulations without prior approval of the Board.

A. General Well Design and Construction
All private water supply wells shall be designed such that:

1. the materials used for the permanent construction are durable in the 

specific hydrogeologic environment that occurs at the well site

2. no unsealed openings will be left around the well that could conduct

surface water or contaminated groundwater vertically to the intake 

portion of the well or transfer water from one formation to another

Permanent construction materials shall not impart toxic substance, taste, odors, or bacterial contamination to the water in the well.

The driller shall operate all equipment according to generally accepted standards in the industry and shall take appropriate precautions to prevent damage, injury or other loss to

persons and property at the drilling site.

Well construction design shall insure that surface water does not enter the well through the opening or by seepage through the ground surface.  Construction site waste and materials shall be disposed of in such a way as to avoid contamination of the well and the aquifer.  During any time that the well is unattended, the contractor shall secure the well in a way as to prevent either tampering with the well or the introduction of foreign material into the well.

Well yield shall be measured and recorded at least every fifty (50) feet during drilling.


All water used for drilling, well development, or to mix a drilling fluid shall be obtained  


from a source which will not result in contamination of the well or the water bearing          
zones penetrated by the well.  Water shall be conveyed in clean sanitary containers or


water lines and shall be chlorinated to an initial concentration between 50 mg/1 and 100 


mg/l.  A free-chlorine residual of 10 mg/l shall be maintained in any water used at the 


drill site.  Water from wetlands, swamps, ponds and other similar surface features


shall not be used. 

All drilling equipment, including pumps and down hole tools, shall be cleaned and disinfected prior to drilling each new well or test hole.

All drilling fluids shall be nontoxic. Drilling fluid additives shall be stored in clean containers and shall be free of material that may adversely affect the well, the aquifer or the quality of the water to be pumped from the well, surfactants should be biodegradable.  The use of biodegradable organic polymers shall, when possible, be avoided.

All wells, including those that have been hydrofractured (aqua-fractured), shall be developed in order to remove fine materials introduced into the pore spaces or fractures during construction.  One or more of the following methods shall be used for development:  overpumping, backwashing, surging, jetting, air-lift pumping.

The completed well shall be sufficiently straight so that there will be no interference with installation, alignment, operation or future removal of the permanent well pump.

The DEP Private Well Guidelines, section entitled “General Well Design and Construction”, provides additional considerations for the construction of wells.

B. Well Casing
Private water supply wells shall be constructed using either steel or thermoplastic well casing.  The casing shall be of adequate strength and durability to withstand anticipated formation and hydrostatic pressures; the forces imposed on it during installation; and the corrosive effects of the local hydrogeologic environment.

Steel casing shall be used with cable tool drilling or when the casing is installed in an open drill hole in which formation materials may suddenly collapse against the casing.

All casing used in the construction of private water supply wells shall be free of pits, breaks, gouges, deep scratches, and other defects.  If previously used casing is installed, it shall be decontaminated and disinfected prior to installation.

Installation of water well casing shall be done in a manner that does not alter the shape, size or strength of the casing and does not damage any of the joints or couplings connecting sections of the casing.  A standard drive shoe shall be used when casing is installed.  The drive shoe shall be either welded or threaded to the lower end of the string of casing and shall have beveled metal cutting edge forged, cast or fabricated for this specific purpose.

Upon completion of the installation procedure, the entire length of the casing above the intake shall be watertight.

For wells completed above grade, the casing shall extend at least twelve (12) inches above the finished ground surface unless the well is located in a floodplain.  For wells constructed in a floodplain, the casing shall extend at least two (2) feet above the level of the highest recorded flood.  The top of the casing shall be reasonably smooth and level.

Concrete casing may be used for dug wells.

1. Steel casing

Steel casing shall consist of schedule 40 pipe that complies with materials standards approved by the American Water Works Association.

Segments of steel casing shall be coupled by using threaded casing, couplings or by welding the joint.  Recessed or reamed and drifted couplings shall be used on threaded casing and no threads shall be left exposed once the joint is completed.  When welded casing joints are used, they shall conform to the most recent revision of AWWA C206, 

“Standards for Field Welding of Steel Water Pipe”.  The weld shall be at least as thick as the wall thickness of the well casing and shall be fully penetrating.  When completed, a welded casing joint shall have a tensile strength equal to or greater than that of the casing.

2.  Thermoplastic casing

Thermoplastic casing used in the construction of private water supply wells shall be capable of withstanding pressures equal to or greater than 200 pounds per square inch and shall conform to the most recent revision of ASTM Standard F480, “Specification for Thermoplastic Water Well Casing Pipe and Couplings Made in Standard Dimension Ratios (SDR)”.   In addition, the casing and couplings shall meet the requirements of the most recent revision of National Sanitation Foundation Standard Number 14, entitled 

“Plastics Piping System Components and Related Materials”.  Materials comply with Stand Number 14 can be recognized by the marking “NSF-WC”.

Thermoplastic casing shall be stored in such a manner as to prevent deformation, sagging or bending.  Storage of thermoplastic casing and couplings in direct sunlight shall be avoided.

Thermoplastic casing shall be installed only in an oversized drill hole and shall not be drive, pushed, or forced into a formation.  Thermoplastic casing shall be joined by mechanical means only.  When pulling back thermoplastic well casing to expose a well screen, the force applied shall not exceed the casing weight.

2. Concrete casing (for dug wells only allowed by Special Permit)

Concrete water well casing consists of either pre-cast concrete pipe or concrete which has been poured in-place.  This type of casing shall be used only for the construction of dug wells.

Pre-cast concrete pipe shall be at least three (3) inches thick, meet or exceed ASTM C 67 Class III specifications, and be free of blemishes.  Joints between pipe segments shall be sealed with a continuous, solid ring rubber gasket having a circular cross section with a diametrical tolerance of plus or minus one-sixty-fourth of an inch.  Gaskets shall be of sufficient volume to substantially fill the recess provided when the pipe joint is assembled.  A properly sized gasket will form a pressure tight seal when it is compressed between the pipe segments.

C. Well screen
A well screen is necessary for all drilled wells that are completed in unconsolidated formations.  Wells completed in bedrock do not require a screen unless the bedrock formation is brittle in nature or has a potential for collapse.  The well screen aperture openings, screen length, and diameter shall be selected so as not to limit the aquifers’ water yielding characteristics while preventing access of soil particles that would detract from well efficiency and yield.

The DEP Private Well Guidelines, section entitled “Well Screen”, includes discussion about screen materials and construction, joints, sealing and methods of installation.

D. Grouting and Sealing

Private wells drilled in bedrock shall be grouted from the top of the weathered rock interface to fifteen (15) feet into competent bedrock.  Either neat cement grout or sand cement grout shall be used and it shall be emplaced using standard grouting techniques as described in the DEP Private Well Guidelines.

      All wells completed with the casing extending above grade shall have a surface seal                  designed to eliminate the possibility of surface water flowing down the annular space between the well casing and the surrounding backfilled materials.  The surface seal shall extend to a depth below the local frost line.

Refer to the DEP Private Well Guidelines, section entitled “Protective Well Seals”, for details about materials and methods used for grouting.

E. Pumps and Pumping Equipment

All pumps shall be installed either below the frost line with a pitless adapter or in some other heated and protected sanitary location.  Above ground pumps shall be installed in sheltered, dry, accessible locations and shall be protected from freezing.

Shallow-well pumps shall be installed as near the well or water source as possible to minimize suction lift.

Deep-well reciprocating pumps shall be installed directly over the well.  Submersible and helical rotor pumps must be installed in the well.  A deep-well jet pump may be offset from the well.

F. Wellhead Completion

Well casing shall not be cut off below the land surface unless a pitless adapter or a pitless unit is installed; or an abandoned well is being permanently plugged.  Well casing terminating above-grade shall extend at least twelve (12) inches above the predetermined ground surface at the wellhead except when the well is located in a floodplain.  When a well is located in a floodplain, the well casing shall extend at least two (2) feet above the level of the highest recorded flood.  The top of the well casing shall be reasonable smooth and level.

Any well, except a dug well, that does not terminate in the base of a pump shall be equipped with a sanitary seal or watertight cap designed to prevent surface water and foreign matter from entering the well.  A flowing artesian well shall be equipped with a shut-off valve and backflow preventer so that the flow of water can be stopped completely when the well is not in use.

All wells except flowing artesian and dug wells shall be vented.  The opening of the vent pipe shall be covered with a 24 mesh corrosion resistant screen and shall be large enough to prevent water from being drawn into the well through electrical conduits or leaks in the seal around the pump when the pump is turned on.  The vent pipe shall terminate in a downward position at or above the top of the casing.

All connections to a well casing made below ground shall be protected by either a pitless adapter or a pitless unit that complies with the most recent revision of National Sanitation Foundation Standard Number 56, entitled “Pitless Well Adapters”.

Above grade connections into the top or side of a well casing shall be at least twelve (12) inches above the established ground surface or two (2) feet above the level of the highest known flood, whichever is higher.  Above grade connections shall be sealed so that they are watertight.

The ground immediately surrounding the well casing shall be sloped downward and away from the well in all directions to eliminate the possibility of surface water ponding.

The DEP Private Well Guidelines, section entitled “Wellhead Completion”, contains illustrations and a more detailed discussion about wellhead completion including capping, venting, connections and grading.

G. Disinfection

Upon completion of well construction, the well contractor shall disinfect the well.  If a pump is to be installed by the well contractor immediately upon completion of the well, the contractor shall disinfect the well and the pumping equipment after the pump has been installed.

If the pump is not installed upon completion of the well, the pump contractor shall, upon installation, disinfect the well and the pumping equipment.  The pump contractor shall also disinfect the entire water supply system after any maintenance or repair work is done on the pump.

When a well is disinfected, the initial chlorine concentration shall be 100 mg/l throughout the entire water column.

For newly constructed or altered wells in which the pump is not immediately installed, the chlorine concentration used to disinfect the well shall be 100 mg/l.  Upon installation of the pump, disinfection of the well, the pumping equipment, and the distribution system, if connected, shall be accomplished with a chlorine concentration of 100 mg/l.

The disinfectant solution shall remain undisturbed, in the well for a minimum of two (2) hours.  After all the chlorine has been flushed from the water supply system a water sample shall be collected, and submitted to a state certified laboratory.  For new wells, the sample shall be tested pursuant to Section 7 of these regulations.  For wells which have undergone repair, the sample shall be tested for coliform bacteria and any other parameters deemed appropriate by the Board.

9.
IRRIGATION WELLS
The  property owner or his designated representative shall obtain a permit from the Board of Health prior to the commencement of the construction of an irrigation well(s).  The permit shall contain the following information:
1. The property owner’s name, mailing address and telephone number.

2. The site location of the well (street number and street name).

3. The well driller’s name, address and telephone number.

4. A plan with a specified scale, signed by a Professional Engineer, showing the location  of the proposed well in relation to existing or proposed above or below ground structures.


Quality testing of irrigation wells shall be done in the same manner as is stated in Douglas Board of Health  Regulation No. 008, section 7.  WATER QUALITY TESTING REQUIREMENTS.   All testing results must be submitted to the Board of Health office and will be kept on file.

All irrigations wells must be clearly marked “NOT POTABLE WATER – IRRIGATION PURPOSES ONLY”.
10.
DRIVE, DUG, BORED WELLS AND AQUA-FRACTURING

Driven, dug and bored wells shall be allowed only by special permit from the Board.  Aqua-fracturing of wells shall only be allowed by special permit from the Board.  Special permit shall mean that the Board of Health will be notified of aqua-fracturing and

equipment used in writing or by telephone with written permission to follow within seven (7)  days.  After the request, the Board may decide to issue a permit, along with conditions.

11. DECOMMISSIONING REQUIREMENTS
Abandoned wells, test holes, and borings shall be decommissioned so as to prevent the well, including the annular space outside the casing, from being a channel allowing the vertical movement of water.

The owner of the private well shall decommission the well if the well meets any of the following criteria:

1. construction of the well is terminated prior to completion of the well

2. the well owner notifies the Board that the use of the well is to be permanently discontinued

3. the well has, after extended use, been out of service for at least three (3) years

4. the well is a potential hazard to public health or safety and the situation cannot be corrected

5. the well is in such a state of disrepair that its continued use is impractical

6. the well has the potential for transmitting contaminants from the land surface into an aquifer or from one aquifer to another and the situation cannot be corrected

The property owner shall be responsible for ensuring that all abandoned wells and test holes or borings associated with private well installation are properly plugged.  Only registered well drillers may plug abandoned wells, test holes and borings.

In the case of new well construction, all test holes and borings shall be plugged before the well driller completes work at the site.

Abandoned wells or borings shall be completely filled with a grout  which cures with a final permeability of less than 1x10-7cm/sec.  Wells shall be plugged with neat cement grout, sand cement grout, concrete, or bentonite grout.

Regardless of type used, the grout:

1.  shall be sufficiently fluid so that it can be applied through a tremie pipe from     

     the bottom of the well upward

2.  shall remain as a homogeneous fluid when applied to the subsurface rather     

     than disaggregating by gravity into a two-phase substance

3.  shall be resistant to chemical or physical deterioration

4.  shall not leach chemicals, either organic or inorganic, that will adversely

    affect the quality of the groundwater where it is applied

The plugging materials shall be introduced at the bottom of the well or boring and placed progressively upward to a level approximately four (4) feet below the ground surface.  Sealing materials shall never be poured from the land surface into the well, borehole or annular space being sealed.

The contractor shall emplace the surface seal no sooner than 24 hours after the well or boring has been plugged.  Before the surface seal is placed, casing remaining in the hole shall be cut off.  The remaining four (4) feet at the top of the well or boring shall then be filled with concrete.  The top of the seal shall comprise a concrete slab above the top of the plugged well or boring.  This concrete slab shall be at least sic (6) inches thick and shall be at least two (2) feet greater in diameter than the well casing or borehole wall.

The DEP Private Well Guidelines, section entitled “Decommissioning Abandoned Wells, Test Holes, and Dry or Inadequate Borings”, contains more comprehensive discussion of plugging procedures and other aspects of decommissioning.

The Board may require, in cases such as known contaminated wells, that the well driller submit a well Decommissioning Report to the Board.

12. ENFORCEMENT
The Board shall investigate violations of these regulations and/or violations of any Water Supply Certificate conditions, and may take such actions as the Board deems necessary for the protection of the public health and the enforcement of these regulations.

If an investigation reveals a violation of these regulations, or the Water Supply Certificate conditions, the Board shall order the private well owner to comply with the violated provision(s).

These orders shall be in writing and served in the following manner:

a. personally, by any person authorized to serve civil process; or 

b. by any person authorized to serve civic process by leaving a copy of the order at the well owner’s last and usual pace of abode; or

c. by sending the well owner a copy of the order by registered or certified mail, return receipt requested, if the well owner is within the Commonwealth; or

d. if the well owner’s last and usual place of abode is unknown or outside the Commonwealth, by posting a copy of the order in a conspicuous place on or about the premises and by advertising it for a least three (3) out of five (5) consecutive days in one or more newspapers of general circulation within the municipality wherein the private well affected is situated. 

13. HEARING
The private well owner to whom any order has been served may request a hearing before the Board by filing with the Board within seven (7) days after the day the order was served, a written petition requesting a hearing on the matter.  Upon receipt of such petition, the Board shall set a time and place for such hearing and shall inform the well owner thereof in writing.  The hearing shall be commenced not later than thirty (30) days after the day on which the order was served.  The Board, upon application of the well owner, may postpone the date of hearing from a reasonable time beyond such 30-day period if in the judgement of the Board the well owner has submitted a good and sufficient reason for such postponement.  At the hearing the well owner shall be given an opportunity to be heard and to show why the order should be modified or withdrawn.  After the hearing, the Board shall sustain, modify, or withdraw the order and shall inform the well owner in writing of its decision.  If the Board sustains or modifies the order, it 

shall be carried out within the time period allotted in the original order or in the modification.

Every notice, or other record prepared by the Board in connection with the hearing shall be entered as a matter of public record in the office of the clerk of the city or town, or in the office of the Board.

If a written petition for a hearing is not filed with the Board within seven (7) days after the day an order has been served, or if after a hearing the order has been sustained in any part, each day’s failure to comply with the order as issued or modified shall constitute an additional offense.

14. APPEAL

Any person aggrieved by the final decision of the Board may seek relief therefrom within thirty (30) days in any court of competent jurisdiction as provided by the laws of this Commonwealth.
15. PENALTIES

Any person who violates any provision of these regulations, or who fails to comply with any order by the Board, for which a penalty is not otherwise provided in any of the General Laws shall upon conviction be fined not less than ten (10) nor more than five hundred (500) dollars. Each days failure to comply with an order shall constitute a separate violation.
16. VARIANCE
The Board may, after a public hearing, grant a variance to the application of these regulations when in its opinion, the enforcement thereof would do manifest injustice, and the applicant has demonstrated that the equivalent degree of protection will still be provided to the private water supply without strict application to particular provisions of these regulations.

Every request for a variance shall be made in writing and shall state the specific variance sought and the reasons therefore.  The writing shall contain all the information needed to assure the Board that, despite the issuance of a variance, the public health and environment will be protected.  Notice of the hearing shall be given by the Board, at the applicant’s expense, at least ten (10) days prior thereto, by certified mail to all abutters of the property upon which the private well is located and by publication in a newspaper of general circulation in the town or city in which the private well is located.  The notice shall include a statement of the variance sought and the reasons therefor. Any grant or denial of a variance shall be in writing and shall contain a brief statement of the reasons for approving or denying the variance.  A copy of each variance shall be conspicuously posted for thirty (30) days following its issuance and shall be available to the public at all reasonable hours in the Office of the Town Clerk or Office of the Board of Health.  No work shall be done under any variance until thirty (30) days elapse from its issuance, unless the Board certifies in writing that an emergency exists.

Any variance may be subject to such qualification, revocation, suspension, condition or expiration as is provided in these regulations or as the Board expresses in its grant of the variance.  A variance may otherwise be revoked, modified or suspended in whole or in

part, only after the holder thereof has been notified in writing and has been given an opportunity to be heard, pursuant to Section 13 of these regulations.

17. SEVERABILITY
If any provision of these regulations or the application thereof is held to be invalid by a court of competent jurisdiction, the invalidity shall be limited to said provision(s) and the remainder of these regulations subsequently invalidated by a new state law or modification of an existing state law shall automatically be brought into conformity with the new or amended law and shall be deemed to be effective immediately, without recourse to a public hearing and the customary procedures for amendment or repeal of such regulation.

18.     EFFECTIVE DATE
These regulations were ratified by vote of the Town of Douglas, Massachusetts Board of Health, at their regularly scheduled meeting held on October 25, 2011.  

19. DISCLAIMER
The issuance of a well permit shall not be construed as a guarantee by the Board or its agents that the water system will function satisfactorily nor that the water supply will be of sufficient quality or quantity for its intended use.

20. AMENDMENTS AND MODIFICATIONS
These regulations or any portion thereof may be amended, supplemented or repealed from time to time by the Board of Health, with notice as provided by law, on its own motion or by petition.  Any part of these regulations subsequently invalidated or modified by a new State or Federal law shall automatically be brought into conformity with the new or amended law and shall be deemed to be effective immediately without recourse to a public hearing and the customary procedures for amendment or repeal of such regulation.

RATIFIED:  _______________
DOUGLAS BOARD OF HEALTH

_________________________________    ________________________________

Justin Lapham, Chairman


David McCallum, Vice Chairman

_________________________________     ________________________________

Joseph Yacino, Agent



Steven Donatelli
_________________________________

            Philip Smith
� EMBED MS_ClipArt_Gallery.5  ���








[image: image2.png]


_1074341511

